## Hospital
SPCH - Environment of Care | [7 empty] | 2008 Actual Activations
2008 Fire Drill Compliance Summary | [7 empty] | 77
Facility: Samaritan Pacific Communities Hospital SPCH | [7 empty] | 100
100
Qtr | D/AA | Shift | Date | Time | Location | Work Center Name | Compliance Score | 277
1st | D | Day | 2008-01-30 | 1400 | EW/WW | Education Room | 84 | 2008 Drill Activations |  | 2007 Drill Activations |  |  | 2007 | 2008
| D | Eve | 2008-03-24 | 1610 | WW-C | Laboratory | 98 | Day Shift | 91% | Day Shift | 93.75% | Day | 91% | 93.75%
| AA | Night | 2008-02-17 | 100 | EW-1 | Emergency Services | 77 | Eve Shift | 90% | Eve Shift | 91% | Eve | 90% | 91%
2nd | D | Day | 2008-06-29 | 1520 | WW-N | Engineering - Boiler Room | 87 | Night Shift | 95% | Night Shift | 92.25% | Night | 95% | 92.25%
| AA | Eve | 2008-07-22 | 1533 | Exterior | Exterior Grounds - Front Area | 100 | Total 2008 Drills | 91.9% | Total 2007 Drills | 92.33% | Total | 91.9% | 92.33%
| D | Night | 2008-06-04 | 630 | EW-1 | Diagnostic Imaging | 84
| AA | Night | 2008-07-27 | 30 | EW-2 | Medical Surgical | 100 |  |  | 1108 | Total
3rd | D | Day | 2008-08-20 | 1400 | WW-C | Medical Records | 98 | 919 | Total | 375 | Day
| D | Eve | 2008-08-24 | 1650 | EW-1 | Pharmacy Services | 86 | 364 | Day | 364 | Eve
| D | Night | 2008-09-10 | 650 | WW-S | Cardiopulmonary | 90 | 270 | Eve | 369 | Night
4th | D | Day | 2008-12-31 | 1515 | WW-N | Nutrition Services | 95 | 285 | Night
| D | Eve | 2008-10-29 | 1630 | EW-1 | Surgical Services | 86
| D | Night | 2008-12-27 | 630 | EW-2 | Obstetrics | 95
EW = East Wing, WW = West Wing |  |  |  | Total 2008 Overall Drill Compliance Score |  |  | 91.9%
D = Drill, AA = Actual Activation |  |  |  | Total 2008 Actual Actv. Compliance Score |  |  | 92.33%
Overall drill compliance is based on the following observable or monitored indicators. Only those indicators that are applicable to that specific area are calculated for that drill. SPCH is required to complete 1 drill per shift per quarter. An actual act
20 - At the Scene
10 - Areas Away from the Scene (generally 4-8 areas away from the scene are observed each drill)
10 - Fire Alarm System/Fire Protection Devices
Revised:8/22/05

## Off-Site
SPCH - Environment of Care
2008 Fire Drill Compliance Summary
SPCH - Off-Site Buildings (Type B Occupancy)
Drill
Date | Time | Work Center Name | Drill/AA | Compliance Score | 0.83333 | Building | Compliance Score
2008-06-24 | 1400 | Clinic: Depoe Bay | D | 100 | Actual Activation | Clinic: Depoe Bay | 100%
2008-08-18 | 1000 | Clinic: ENT & Allergy | D | 100 | 94.33% | Clinic: ENT & Allergy | 100%
2008-07-23 | 1111 | Clinic: SPIM | AA | 100 |  | Clinic: SPIM | 100%
2008-07-12 | 1151 | Clinic: SPIM* | AA | 100 |  | Clinic: SPIM* | 100%
2008-12-28 | 900 | Clinic: Surgical Associates | D | 100 |  | Clinic: Surgical Associates | 100%
2008-09-15 | 1400 | Clinic: Toledo | D | 100 |  | Clinic: Toledo | 100%
2008-01-14 | 1215 | Clinic: Waldport | D | 100 |  | Clinic: Waldport | 100%
2008-08-25 | 1030 | Clinic: Womens Health Group | D | 100 |  | Clinic: Womens Health Group | 100%
2008-04-07 | 1745 | Pacific Communities Clinic | AA | 83 |  | Pacific Communities Clinic | 83%
|  | In-Home Services | Not Completed |  |  | In-Home Services | Not Completed
2008-11-05 | 900 | Patient Account/Accounting | D | 100 |  | Patient Account/Accounting | 100%
D = Drill, AA=Actual Activation, *=Counts as drill for 2004. |  | Total 2008 Overall Drill Compliance Score |  | 100% |  |  | 9.83 | 1.404%
|  | Total 2008 Overall Actual Actv. Compliance Score |  | 94.33%
Overall drill compliance is based on the following observable or monitored indicators. Only those indicators that are applicable to that specific area are calculated for that drill. SPHS is required to complete 1 drill per year per Type B Occupancy building.
20 - At the Scene
10 - Areas Away from the Scene (generally 4-8 areas away from the scene are observed each drill)
10 - Fire Alarm System/Fire Protection Devices
Revised: 01/30/09
Not Completed